{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":52,"n_cols":14,"rows_kept":52,"merged":[[0,0,0,13],[1,0,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,12,4,12],[2,13,4,13]],"flags":["formulas_cached_only"]}
["11上半月管网水半月检常规项目检验汇总表"]
["委托单位名称：淄博市自来水有限责任公司                                                                               检测单位：淄博安瑞水质检测有限责任公司                                                                                                                                                                                                                                                                                               "]
["序号","采样日期","采样地点","样品编号","菌落总数","总大肠菌群","色度","浑浊度","臭和味","肉眼可见物","二氧化氯","高锰酸盐指数（以O2计）","报告日期","检测人员"]
[{"$nulls":4},"CFU/mL","CFU/100mL","度","NTU","/","/","mg/L","mg/L"]
[{"$nulls":4},"≤100","不应检出","≤15","≤1","无异臭、异味","无","出厂水和末梢水中限值0.8，出厂水中余量≥0.1，末梢水中余量 ≥0.02","≤3"]
[1,"2025.11.03","新村西路140号原市水资办","20251103-0921",7,"未检出","<5","0.31","无","无",0.04,"/","2025.11.05"," 王晓芳"]
[2,"2025.11.03","淄博市政务中心","20251103-0922",6,"未检出","<5","0.22","无","无",0.05,"/","2025.11.05"," 王晓芳"]
[3,"2025.11.03","张店区疾控中心","20251103-0923",7,"未检出","<5","0.24","无","无",0.03,"/","2025.11.05"," 王晓芳"]
[4,"2025.11.03","西苑社区","20251103-0924",10,"未检出","<5","0.27","无","无",0.04,"/","2025.11.05"," 王晓芳"]
[5,"2025.11.03","五公里党群站","20251103-0925",6,"未检出","<5","0.20","无","无",0.04,1.26,"2025.11.05"," 王晓芳"]
[6,"2025.11.03","   市自来水公司南定营销服务中心","20251103-0926",4,"未检出","<5","0.31","无","无",0.03,1.13,"2025.11.05"," 王晓芳"]
[7,"2025.11.03","市自来水公司铝城营业所","20251103-0927",15,"未检出","<5","0.35","无","无",0.04,"/","2025.11.05"," 王晓芳"]
[8,"2025.11.03","经开区后南定村卫生室","20251103-0928",13,"未检出","<5","0.25","无","无",0.02,"/","2025.11.05"," 王晓芳"]
[9,"2025.11.03","张南路101号中石油加油站","20251103-0929",2,"未检出","<5","0.19","无","无",0.03,"/","2025.11.05"," 王晓芳"]
[10,"2025.11.03","山泉路启星比亚迪4S店","20251103-0930",3,"未检出","<5","0.23","无","无",0.04,"/","2025.11.05"," 王晓芳"]
[11,"2025.11.04","天勤苑社区","20251104-0931",7,"未检出","<5","0.26","无","无",0.05,1.25,"2025.11.06"," 王晓芳"]
[12,"2025.11.04","高新区金晶大道汇驰奔驰4S店","20251104-0932",3,"未检出","<5","0.23","无","无",0.04,"/","2025.11.06"," 王晓芳"]
[13,"2025.11.04","金都花园社区","20251104-0933",11,"未检出","<5","0.21","无","无",0.03,1.44,"2025.11.06"," 王晓芳"]
[14,"2025.11.04","星悦城社区","20251104-0934",17,"未检出","<5","0.20","无","无",0.04,1.32,"2025.11.06"," 王晓芳"]
[15,"2025.11.04","外商居住区","20251104-0935",8,"未检出","<5","0.21","无","无",0.03,"/","2025.11.06"," 王晓芳"]
[16,"2025.11.04","市自来水开发区营业所","20251104-0936",6,"未检出","<5","0.19","无","无",0.04,"/","2025.11.06"," 王晓芳"]
[17,"2025.11.04","淄博市十一中","20251104-0937",2,"未检出","<5","0.25","无","无",0.04,"/","2025.11.06"," 王晓芳"]
[18,"2025.11.04","丽莎会议中心","20251104-0938",19,"未检出","<5","0.22","无","无",0.03,"/","2025.11.06"," 王晓芳"]
[19,"2025.11.04","华侨城警务室","20251104-0939",15,"未检出","<5","0.34","无","无",0.03,"/","2025.11.06"," 王晓芳"]
[20,"2025.11.05","淄博市委","20251105-0940",3,"未检出","<5","0.34","无","无",0.03,"/","2025.11.07"," 王晓芳"]
[21,"2025.11.05","张店区军休所","20251105-0941",7,"未检出","<5","0.35","无","无",0.03,"/","2025.11.07"," 王晓芳"]
[22,"2025.11.05","五里桥生活区","20251105-0942",2,"未检出","<5","0.25","无","无",0.04,"/","2025.11.07"," 王晓芳"]
[23,"2025.11.05","祥瑞花园社区","20251105-0943",31,"未检出","<5","0.30","无","无",0.03,"/","2025.11.07"," 王晓芳"]
[24,"2025.11.05","张店八中","20251105-0944","未检出","未检出","<5","0.25","无","无",0.05,"/","2025.11.07"," 王晓芳"]
[25,"2025.11.05","淄博市图书馆","20251105-0945",3,"未检出","<5",0.23,"无","无",0.02,"/","2025.11.07"," 王晓芳"]
[26,"2025.11.05","积家村党群服务中心","20251105-0946",1,"未检出","<5","0.31","无","无",0.05,1.41,"2025.11.07"," 王晓芳"]
[27,"2025.11.05","明德苑社区","20251105-0947","未检出","未检出","<5","0.19","无","无",0.02,"/","2025.11.07"," 王晓芳"]
[28,"2025.11.10","恒嘉园社区","20251110-0948",4,"未检出","<5","0.33","无","无",0.05,"/","2025.11.12"," 王晓芳"]
[29,"2025.11.10","人民东路小学","20251110-0949",5,"未检出","<5","0.31","无","无",0.03,"/","2025.11.12"," 王晓芳"]
[30,"2025.11.10","张店区保安公司","20251110-0950",3,"未检出","<5","0.23","无","无",0.04,"/","2025.11.12"," 王晓芳"]
[31,"2025.11.10","润德实业公司","20251110-0951",2,"未检出","<5","0.30","无","无",0.06,"/","2025.11.12"," 王晓芳"]
[32,"2025.11.10","行政执法局湖田中队","20251110-0952",8,"未检出","<5","0.29","无","无",0.03,"/","2025.11.12"," 王晓芳"]
[33,"2025.11.10","淄博市公交东站","20251110-0953",4,"未检出","<5","0.23","无","无",0.04,"/","2025.11.12"," 王晓芳"]
[34,"2025.11.10","洪三社区","20251110-0954",5,"未检出","<5","0.32","无","无",0.03,1.15,"2025.11.12"," 王晓芳"]
[35,"2025.11.11","淄博市工商局","20251111-0955",25,"未检出","<5","0.26","无","无",0.04,"/","2025.11.13"," 王晓芳"]
[36,"2025.11.11","市自来水公司新区营业所","20251111-0956",2,"未检出","<5","0.25","无","无",0.03,"/","2025.11.13"," 王晓芳"]
[37,"2025.11.11","颐臻园社区","20251111-0957",11,"未检出","<5","0.33","无","无",0.04,"/","2025.11.13"," 王晓芳"]
[38,"2025.11.11","世纪花园社区","20251111-0958",5,"未检出","<5","0.37","无","无",0.04,"/","2025.11.13"," 王晓芳"]
[39,"2025.11.11","瑞丰苑社区","20251111-0959",1,"未检出","<5","0.28","无","无",0.05,1.23,"2025.11.13"," 王晓芳"]
[40,"2025.11.11","科技苑物业","20251111-0960",2,"未检出","<5","0.22","无","无",0.03,"/","2025.11.13"," 王晓芳"]
[41,"2025.11.12","淄博市体育馆","20251112-0961",9,"未检出","<5","0.23","无","无",0.05,"/","2025.11.14"," 王晓芳"]
[42,"2025.11.12","福源汇社区","20251112-0962",3,"未检出","<5","0.24","无","无",0.03,"/","2025.11.14"," 王晓芳"]
[43,"2025.11.12","孝妇河湿地公园喷泉广场","20251112-0963","未检出","未检出","<5","0.31","无","无",0.04,1.38,"2025.11.14"," 王晓芳"]
[44,"2025.11.12","石家社区","20251112-0964",2,"未检出","<5","0.25","无","无",0.04,1.18,"2025.11.14"," 王晓芳"]
[45,"2025.11.12","盛世康城社区","20251112-0965",1,"未检出","<5","0.22","无","无",0.02,"/","2025.11.14"," 王晓芳"]
[46,"2025.11.12","福瑞家园社区","20251112-0966",5,"未检出","<5","0.26","无","无",0.03,1.23,"2025.11.14"," 王晓芳"]
[null,null,"以下空白"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}